1. File from MM emailed on 2024-02-26 “Copy of Guana\_masterdata\_2024-02-26\_revised by\_MM.xlsx” was corrupted and therefore not able to be used. Was able to copy all the data into a new spreadsheet to complete the following work.
2. Separated all years into their own “sheet”.
3. Added data dictionary as a sheet at the beginning of the workbook.
   1. Added lat and long for GTMOLNUT as it was missing
   2. Added lat and long for GTMDNNUT as it was missing
   3. Added lat and long for GTMDSNUT as it was missing
4. Added a “Notes” sheet and “QAQC” sheet to describe QAQC and procedures for working with this datafile.
5. Column adjustments
   1. Removed “AdjustedDate” column as it is unnecessary and not in the original data
   2. Renamed “SampleType” column back to “ActivityType” as this column is named directly for WIN purposes.
   3. Added F\_Record column to data to allow for QAQC flags and codes that apply to the entire sample to be included in the datafile
6. UNID column stopped being used in 2019 as did entering the `Lat` and `Long` columns of information.
   1. Removed the `Lat` and `Long` columns since this information is in the `data\_dictionary` tab and can be added when needed for analysis later on.
7. What do to about Secchi readings greater than 1.2 m? In data listed as `>1.2` which is not able to be analyzed.
   1. Created new error code [SAL] which means sample above limit. Can flag with 0, 1, or -3
8. 2017
   1. ‘GTMOLNUT\_dup’ data that was removed from the data. This can be filtered out in analyses, but should remain in “MASTER” file.
   2. All the laboratory information “Analysis Method, Lab ID, Lab Accreditation, Laboratory Name” information is incorrect. – corrected and confirmed
      1. Revisited laboratory documents to complete missing information and check data entry. Date Received and Date Analyzed information also missing. PQL, Dil also added.
   3. Flagged bacteria data in Aug that had a B remark as <1> (CSM) because Results based on colony counts outside acceptable range
   4. Incorrect result entered for CHLa\_UnC in September GTMLSNUT 09/20/2017 09:47. Corrected for 34.3
   5. Added {CWE} {CSM} to `F\_Record`column for all sites on 2017-10-18 due to Field notes indicating “Nor’easter and water flowing north to lake”. Field notes also indicate that the Overlook Duplicate samples (first collected this month) were taken by Jimmy and Kaitlyn in the middle of the lake to test for the representativeness of the OL site. The lat and long of this sample was 30.08302, -81.34286 which is the location of GTMLMNUT which began sampling “officially” in December 2017.
   6. Added {CRE} {CSM} to `F\_Record` column for all sites on 2017-12-13 due to Field notes indicating “that samples had to be taken at a lower tide due to duck hunting in Guana Lake that lasted until 12:00”.
9. What is `PrepDate` and is it important?